Literature Review: Combined Cycle Power Plants (CCPP) and Predictive Modeling Using Machine Learning

Introduction to Combined Cycle Power Plants

Combined Cycle Power Plants (CCPPs) are advanced energy systems that improve efficiency by combining two thermodynamic cycles—gas turbines and steam turbines. Gas turbines generate electricity by burning natural gas and compressed air. The high-temperature exhaust gases are then utilized in a Heat Recovery Steam Generator (HRSG) to produce steam, which powers a steam turbine, generating additional electricity.

- Efficiency: CCPPs achieve energy conversion efficiency of up to 60%, compared to the 35% efficiency of single-cycle power plants.

- Environmental Impact: These plants utilize waste heat, reducing fuel consumption and greenhouse gas emissions for the same energy output.

Factors Affecting Power Output

The output power of a CCPP is influenced by the following factors:

- Ambient Temperature (AT): Strong negative correlation (-0.95) with power output due to reduced air density.

- Exhaust Vacuum (V): Negatively correlated; affects steam turbine efficiency.

- Atmospheric Pressure (AP): Positively correlated; higher pressure improves combustion.

- Relative Humidity (RH): Exhibits a weaker positive correlation with power output.

Challenges in Predictive Modeling

Multicollinearity, observed between AT and V, is a critical challenge. This issue arises when predictors are highly correlated, leading to redundant information and reducing model robustness. Feature selection strategies are used to mitigate this issue, prioritizing the most influential predictors.

Predictive Modeling Using Machine Learning

Machine learning provides scalable and accurate solutions for predicting the power output of CCPPs. Commonly used models include:

- Linear Regression (LR): Models linear relationships between predictors and target variables.

- Decision Tree Regression: Captures non-linear interactions with easy interpretability.

- Random Forest Regression (RFR): An ensemble method combining multiple decision trees for enhanced predictive performance.

- Gradient Boosting: Sequentially optimizes weak learners to minimize errors.

- Deep Learning (ANN/DNN): Effective for modeling complex non-linear relationships.

Implementation Workflow

- Dataset: The UCI CCPP dataset includes 9,568 samples with no missing values, covering ambient and operational conditions.

- Feature Selection: Models were developed using different feature combinations:

  - Model 1: Ambient Temperature (AT) only.

  - Model 2: AT and Exhaust Vacuum (V).

  - Model 3: AT, V, and Relative Humidity (RH).

  - Model 4: AT, V, AP, and RH.

- Training and Evaluation:

  - Data split into training (80%) and testing (20%) sets.

  - Performance metrics include Root Mean Square Error (RMSE), Mean Absolute Error (MAE), and R-squared (R²).

Results and Insights

- Model Performance: Random Forest Regression using all four features (Model 4) yielded the best results:

  - R²: 0.9644, explaining 96.44% of the variation in power output.

  - RMSE: 3.1891, indicating high prediction accuracy.

- Feature Importance: AT and V emerged as the most significant predictors.

Applications and Future Directions

Machine learning models can optimize CCPP operations by:

- Enhancing real-time decision-making for improved efficiency.

- Reducing environmental impact through predictive maintenance.

- Expanding datasets to include additional variables like fuel type and turbine wear.

Future research could explore hybrid models or advanced techniques like XGBoost to further enhance predictive accuracy.